## README
Raman Data-Recording Template — SOP-RAMAN-BULK-01 v1.0 (companion to the Word SOP)
Instrument: B&W Tek i-Raman Plus, BWS465-785H, 785 nm. Substrate: bulk powder directly on glass slides only.
One row per spectrum (sample or blank) in Master_Log. Unknown values: write "Not recorded" — never guess.
Never delete, overwrite or edit raw files. Poor spectra are kept and flagged; exclusion happens in processing QC with a reason.
Filename: <Analyte>_Bulk_<YYYYMMDD>_P<ppp>pct_T<t>s_A<aa>_S<rr>.csv Blanks: Glass_Blank_<YYYYMMDD>_P<ppp>pct_T<t>s_A<aa>_S<rr>.csv
Include/Exclude at the bench is provisional (Keep / Flag for QC). Final decision after processing.
Laser power is recorded in % (do not convert to mW unless measured). Objective is not stored in file headers — record it here.
Sheets: Master_Log, Blank_Log, Slide_Register, Incident_Log, Filename_Map, Observation_Codes.

## Master_Log
Row No. | Session ID | Date | Operator | Biomarker | Sample ID | Supplier | Catalog No. | Lot No. | Purity | Glass Slide ID | Deposition Method | Laser Wavelength (nm) | Laser Power % | Integration Time (s) | Accumulations | Objective | Spot No. | Raw Filename | New Filename | SNR | Saturation | Baseline Quality | Cosmic-Ray Issue | Visual Quality | Include/Exclude | Exclusion Reason | Notes
1 | [11 empty] | 785
2 | [11 empty] | 785
3 | [11 empty] | 785
4 | [11 empty] | 785
5 | [11 empty] | 785
6 | [11 empty] | 785
7 | [11 empty] | 785
8 | [11 empty] | 785
9 | [11 empty] | 785
10 | [11 empty] | 785
11 | [11 empty] | 785
12 | [11 empty] | 785
13 | [11 empty] | 785
14 | [11 empty] | 785
15 | [11 empty] | 785
16 | [11 empty] | 785
17 | [11 empty] | 785
18 | [11 empty] | 785
19 | [11 empty] | 785
20 | [11 empty] | 785
21 | [11 empty] | 785
22 | [11 empty] | 785
23 | [11 empty] | 785
24 | [11 empty] | 785
25 | [11 empty] | 785
26 | [11 empty] | 785
27 | [11 empty] | 785
28 | [11 empty] | 785
29 | [11 empty] | 785
30 | [11 empty] | 785
31 | [11 empty] | 785
32 | [11 empty] | 785
33 | [11 empty] | 785
34 | [11 empty] | 785
35 | [11 empty] | 785
36 | [11 empty] | 785
37 | [11 empty] | 785
38 | [11 empty] | 785
39 | [11 empty] | 785
40 | [11 empty] | 785
41 | [11 empty] | 785
42 | [11 empty] | 785
43 | [11 empty] | 785
44 | [11 empty] | 785
45 | [11 empty] | 785
46 | [11 empty] | 785
47 | [11 empty] | 785
48 | [11 empty] | 785
49 | [11 empty] | 785
50 | [11 empty] | 785
51 | [11 empty] | 785
52 | [11 empty] | 785
53 | [11 empty] | 785
54 | [11 empty] | 785
55 | [11 empty] | 785
56 | [11 empty] | 785
57 | [11 empty] | 785
58 | [11 empty] | 785
59 | [11 empty] | 785
60 | [11 empty] | 785
61 | [11 empty] | 785
62 | [11 empty] | 785
63 | [11 empty] | 785
64 | [11 empty] | 785
65 | [11 empty] | 785
66 | [11 empty] | 785
67 | [11 empty] | 785
68 | [11 empty] | 785
69 | [11 empty] | 785
70 | [11 empty] | 785
71 | [11 empty] | 785
72 | [11 empty] | 785
73 | [11 empty] | 785
74 | [11 empty] | 785
75 | [11 empty] | 785
76 | [11 empty] | 785
77 | [11 empty] | 785
78 | [11 empty] | 785
79 | [11 empty] | 785
80 | [11 empty] | 785
81 | [11 empty] | 785
82 | [11 empty] | 785
83 | [11 empty] | 785
84 | [11 empty] | 785
85 | [11 empty] | 785
86 | [11 empty] | 785
87 | [11 empty] | 785
88 | [11 empty] | 785
89 | [11 empty] | 785
90 | [11 empty] | 785
91 | [11 empty] | 785
92 | [11 empty] | 785
93 | [11 empty] | 785
94 | [11 empty] | 785
95 | [11 empty] | 785
96 | [11 empty] | 785
97 | [11 empty] | 785
98 | [11 empty] | 785
99 | [11 empty] | 785
100 | [11 empty] | 785
101 | [11 empty] | 785
102 | [11 empty] | 785
103 | [11 empty] | 785
104 | [11 empty] | 785
105 | [11 empty] | 785
106 | [11 empty] | 785
107 | [11 empty] | 785
108 | [11 empty] | 785
109 | [11 empty] | 785
110 | [11 empty] | 785
111 | [11 empty] | 785
112 | [11 empty] | 785
113 | [11 empty] | 785
114 | [11 empty] | 785
115 | [11 empty] | 785
116 | [11 empty] | 785
117 | [11 empty] | 785
118 | [11 empty] | 785
119 | [11 empty] | 785
120 | [11 empty] | 785
121 | [11 empty] | 785
122 | [11 empty] | 785
123 | [11 empty] | 785
124 | [11 empty] | 785
125 | [11 empty] | 785
126 | [11 empty] | 785
127 | [11 empty] | 785
128 | [11 empty] | 785
129 | [11 empty] | 785
130 | [11 empty] | 785
131 | [11 empty] | 785
132 | [11 empty] | 785
133 | [11 empty] | 785
134 | [11 empty] | 785
135 | [11 empty] | 785
136 | [11 empty] | 785
137 | [11 empty] | 785
138 | [11 empty] | 785
139 | [11 empty] | 785
140 | [11 empty] | 785
141 | [11 empty] | 785
142 | [11 empty] | 785
143 | [11 empty] | 785
144 | [11 empty] | 785
145 | [11 empty] | 785
146 | [11 empty] | 785
147 | [11 empty] | 785
148 | [11 empty] | 785
149 | [11 empty] | 785
150 | [11 empty] | 785

## Blank_Log
Blank ID | Session ID | Date | Time | Glass Slide ID | Matched to set (biomarker + condition) | Laser Wavelength (nm) | Laser Power % | Integration Time (s) | Accumulations | Objective | Raw Filename | New Filename | Measurement location on slide | Notes
B01
B02
B03
B04
B05
B06
B07
B08
B09
B10
B11
B12
B13
B14
B15
B16
B17
B18
B19
B20
B21
B22
B23
B24
B25
B26
B27
B28
B29
B30
B31
B32
B33
B34
B35
B36
B37
B38
B39
B40

## Slide_Register
Slide ID | Type | Manufacturer | Batch / lot | New / used | Cleaning method | Cleaning date | Reused? (which samples, order) | Sample position(s) | Blank location | Scratches / dust / residue notes
GS-001
GS-002
GS-003
GS-004
GS-005
GS-006
GS-007
GS-008
GS-009
GS-010
GS-011
GS-012
GS-013
GS-014
GS-015
GS-016
GS-017
GS-018
GS-019
GS-020
GS-021
GS-022
GS-023
GS-024
GS-025
GS-026
GS-027
GS-028
GS-029
GS-030

## Incident_Log
Incident No. | Spectrum ID / filename | Date | Time | Instrument setting (power/int/acc) | Problem | What happened | Acquisition repeated? (new filename) | Retained in raw data? | Provisional status | Reason
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40

## Filename_Map
No. | Original filename (as saved by software) | New systematic filename | Checked by | Date
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150

## Observation_Codes
Code | Observation
OK | Normal / as expected
STR | Strong signal
WK | Weak signal
FL | Fluorescence / rising background
CR | Cosmic-ray spike
MV | Sample moved
FO | Focus problem
SAT-L | Saturation at laser line only
SAT-A | Saturation inside 400-1800 cm-1
NEG | Negative counts / distorted dark
UP | Unexpected peak
GC | Glass contamination / residue
DU | Dust / foreign particle
DIF | Different from previous spots
BL | Unusual baseline