LTA Bulk Re-acquisition: Data-Recording Checklist

Companion to: 06_Lab_Data_Recording_SOP_NAM_LTA_LPS.docx and 06_Raman_Data_Recording_Template.xlsx. Project: SERS Sepsis bulk-powder Raman library. Operator: Sukesh Periyasamy (IIT Jodhpur).

Reminders for the session: measure every spot on a glass slide, note the laser power as a percentage of the maximum, and write "Not recorded" for anything that was not noted. Keep every original raw file, including spectra that failed, and log the reason.

# Session header (fill once)

| Item | Entry |
| --- | --- |
| Session ID |  |
| Date |  |
| Operator |  |
| Instrument (B&W Tek i-Raman Plus BWS465-785H, 785 nm) |  |
| Objective / probe |  |
| Room temperature (optional) |  |

# 1. Sample and slide

| Item | Entry |
| --- | --- |
| Analyte: LTA (lipoteichoic acid), source organism |  |
| Supplier |  |
| Catalogue No. |  |
| Lot No. |  |
| Purity |  |
| Photo of vial label saved (file name) |  |
| Powder amount deposited |  |
| Deposition method |  |
| Glass slide ID |  |
| Slide cleaning method and date |  |
| Slide new / reused |  |
| Sample position(s) and blank location on slide |  |
| Scratches / dust / residue notes |  |

# 2. Acquisition settings

| Parameter | Planned value | Actual value |
| --- | --- | --- |
| Laser wavelength | 785 nm |  |
| Laser power | 80 % of maximum |  |
| Integration time | 45 s |  |
| Accumulations | 2 |  |
| Number of sample spots | 12 to 15 independent spots |  |
| Number of glass blanks | 2 to 3, same settings |  |
| Dark | Shutter closed by hand, at start and end |  |

# 3. Before measuring: dark

| Check | Start of session | End of session |
| --- | --- | --- |
| Shutter closed by hand (yes / no) |  |  |
| Dark file name |  |  |
| Mean dark counts (true dark about 1470 to 1525) |  |  |
| Time |  |  |

# 4. Per-spot log

One row per spectrum. Check the first spot's ripple before continuing (must be 50 counts or less; saturation limit 65535).

| Spot | Time | Original file | New file name | Power % | Time s | Acc | Ripple | Obs. code / notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S01 |  |  | LTA_Bulk_<date>_P080pct_T45s_A02_S01.csv | 80 | 45 | 2 |  |  |
| S02 |  |  | LTA_Bulk_<date>_P080pct_T45s_A02_S02.csv | 80 | 45 | 2 |  |  |
| S03 |  |  | LTA_Bulk_<date>_P080pct_T45s_A02_S03.csv | 80 | 45 | 2 |  |  |
| S04 |  |  | LTA_Bulk_<date>_P080pct_T45s_A02_S04.csv | 80 | 45 | 2 |  |  |
| S05 |  |  | LTA_Bulk_<date>_P080pct_T45s_A02_S05.csv | 80 | 45 | 2 |  |  |
| S06 |  |  | LTA_Bulk_<date>_P080pct_T45s_A02_S06.csv | 80 | 45 | 2 |  |  |
| S07 |  |  | LTA_Bulk_<date>_P080pct_T45s_A02_S07.csv | 80 | 45 | 2 |  |  |
| S08 |  |  | LTA_Bulk_<date>_P080pct_T45s_A02_S08.csv | 80 | 45 | 2 |  |  |
| S09 |  |  | LTA_Bulk_<date>_P080pct_T45s_A02_S09.csv | 80 | 45 | 2 |  |  |
| S10 |  |  | LTA_Bulk_<date>_P080pct_T45s_A02_S10.csv | 80 | 45 | 2 |  |  |
| S11 |  |  | LTA_Bulk_<date>_P080pct_T45s_A02_S11.csv | 80 | 45 | 2 |  |  |
| S12 |  |  | LTA_Bulk_<date>_P080pct_T45s_A02_S12.csv | 80 | 45 | 2 |  |  |
| S13 |  |  | LTA_Bulk_<date>_P080pct_T45s_A02_S13.csv | 80 | 45 | 2 |  |  |
| S14 |  |  | LTA_Bulk_<date>_P080pct_T45s_A02_S14.csv | 80 | 45 | 2 |  |  |
| S15 |  |  | LTA_Bulk_<date>_P080pct_T45s_A02_S15.csv | 80 | 45 | 2 |  |  |

# 5. Glass blanks

| Blank | Time | Original file | New file name | Location on slide | Notes |
| --- | --- | --- | --- | --- | --- |
| B01 |  |  | Glass_Blank_<date>_P080pct_T45s_A02_S01.csv |  |  |
| B02 |  |  | Glass_Blank_<date>_P080pct_T45s_A02_S02.csv |  |  |
| B03 |  |  | Glass_Blank_<date>_P080pct_T45s_A02_S03.csv |  |  |

# 6. Incidents and repeats

| No. | File | Time | Problem (ripple, saturation, drift, other) | Repeated? (new file) | Kept in raw data? |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |

# 7. After the session

☐  Copy raw files to 01_Raw_Data_Renamed/LTA_Bulk and Glass_Blank using the new names; original files stay untouched.

☐  Verify MD5 of every copy against its original.

☐  Complete Filename_Map in the Excel template.

☐  Tell Claude the folder to process (pipeline v3, QC, Mean +/- SD reference, comparison with April LTA, NAM and LPS).

☐  Remember: exclude the glass zone 1308 to 1455 cm-1 (about 1367 cm-1 band) from correlations.

Signed: ____________________    Date: ____________